## Slide 1: Group 4
Nanda Barendsen
Marc Lodewegen
Rob Sentveld
Suzanne Brasser
Joost Kamphuis

## Slide 2: Overview
Assignment: our understanding of the goal
  Transformers vs. complete process
  Reliability < 24min/year
  Sustainability vs. circularity vs. CO2 reduction: prevent phasing out
  Business case: assumptions for calculations
Two complementary solutions
  Remote condition controlling
  B2B market expansion

## Slide 3: Remote condition monitoring
Equip all transformers with measuring instruments
  Based on temperature and oil quality information
  proven technology: Laborec
Strategy: Diagnostics centre
  Insourcing / Outsourcing
  Reassess phasing out strategy: condition based
  Possibly: equip critical transformers immediately with sensors;
Benefits (both cost and sustainability):
  Less inspection: CO2; Maintenance costs
  No unnecesary replacement
  Data availability in the future
Business case: M€ 22,5
  45.000 transformers; 2yearly inspection (*1/2); €1000/inspection

## Slide 4: B2B market expansion
Huge chances for expanding B2B market on a sustainable and circular manner
  Reliability most important, shift towards image
  Competitive advantage: Liander is part of YOUR supply chain
  12.000 of 45.000 transformers (25%)
  but higher turnover (>>25%)
  Functionality  stimulation towards sustainability
  Business case
    Premium for sustainability

## Slide 5: Questions

## Slide 6: SWOT analysis
Strengths
Top management support
Cooperative supply chain
Strong vision on sustainability and circularity
Opportunities
Business customers can choose: focus B2B market
Room for experimenting
Relative low replacement cost
Weaknesses
Employee interest in vision
No clear relation between 3Ps & transformers
Customers are locked
Threats
Lack of innovation in transformers
Overhaul of all transformers takes ± 100 years